MONTHLY SAFETY CHECK

Department:       Supervisor:       Date:

Indicate Discrepancy by “X”

General Area

|  | Floor Conditions |
| --- | --- |
|  | Special Purpose Flooring |
|  | Aisle, Clearance/Marking |
|  | Floor Openings, Require Safeguards |
|  | Railings, Stairs Temporary/Permanent |
|  | Deck Board – Bridges |
|  | Piping – Water, Steam, Air |
|  | Wall Damage |
|  | Ventilation |
|  | Other: |

Illumination/Wiring

|  | Unnecessary/Improper Use |
| --- | --- |
|  | Lights on During Shutdown |
|  | Frayed/Defective Wiring |
|  | Overloading Circuits |
|  | Machinery Not Grounded |
|  | Hazardous Location |
|  | Wall Outlets |
|  | Other: |

Tools

|  | Power Tool Wiring |
| --- | --- |
|  | Condition of Hand Tools |
|  | Safe Storage |
|  | Other: |

Housekeeping

|  | Floors |
| --- | --- |
|  | Machines |
|  | Break Area/Latrines |
|  | Waste Disposal |
|  | Vending Machines/Food Preparation |
|  | Rodent, Insect, Vermin Control |

Vehicles

|  | Unauthorized Use |
| --- | --- |
|  | Operating Defective Vehicle |
|  | Reckless/Speeding Operation |
|  | Failure to Obey Traffic Rules |
|  | Other: |

Material Storage

|  | Hazardous and Flammable Material Not Stored Properly |
| --- | --- |
|  | Improper Stacking/Loading/Securing |
|  | Improper Lighting, Warning Signs, Ventilation |
|  | Other: |

First Aid

|  | First Aid Kits |
| --- | --- |
|  | Stretchers, Fire Blankets, Oxygen |
|  | Other: |

Fire Protection

|  | Fire Hoses Hung Properly |
| --- | --- |
|  | Extinguishers Charged/Proper Locations |
|  | Access to Fire Equipment |
|  | Exit Lights/Doors/Signs |
|  | Other: |

Security

|  | Doors/Windows, etc (secured when required) |
| --- | --- |
|  | Alarm Operation |
|  | Department Shutdown Security |
|  | Equipment Secured |
|  | Unauthorized Personnel |
|  | Other: |

Machinery

|  | Unattended Machines Operating |
| --- | --- |
|  | Emergency Stops Not Operational |
|  | Platforms/Ladders/Catwalks |
|  | Instructions to Operate/Stop Posted |
|  | Maintenance Being Performed on Machines in Operation |
|  | Guards in Place |
|  | Pinch Points |
|  | Other: |

Additional Comments: